## Slide 1: Development of a new Python-based cardiac phantom for myocardial SPECT imaging
John Wesley Mathis
ECE/SSE 591

## Slide 2: What is SPECT?
Single Photon Emission Computed Topography
Nuclear Imaging
Shows blood flow to tissues and organs
Myocardial Perfusion SPECT
  Evaluates blood flow to the heart muscle
Notes: type of nuclear imaging
Myocardial Perfusion SPECT specifically used to evaluate blood flow to the heart muscle
Helps in diagnosing various heart conditions,
Simulated Gated myocardial Perfusion SPECT

## Slide 3: Anthropomorphic Human Phantoms
Objects that simulate human tissues and organs to test and calibrate imaging devices
Used in nuclear medicine
  Image acquisition
  Reconstruction
  Data analysis
  Calibration, etc

## Slide 4: Types of Phantoms
Numerical Phantoms
  Stylized Phantoms: Use mathematical equations to represent human anatomy
    Analytical geometries
  Voxel Phantoms: Use 3D imaging techniques like MRI or CT scans
    More realistic, derived from human patients
Non-numerical phantoms
  Physical models
Notes: two types of phantoms

## Slide 5: Quantitative Measurements
End Diastolic Volume(EDV)
  Volume of blood in the left ventricle at the end of filling
End-Systolic Volume (ESV)
  Volume of blood in the left ventricle after contraction
Ejection Fraction(EF)
  Percentage of blood pumped out of the left ventricle during each heartbeat
Phase Analysis, Wall Thickening Motion, Perfusion Parameters
  Various measures of heart function and blood flow
Defect Extent and Severity, Stress and Rest Scores, Total Perfusion Deficit(TPD)
  Assessment of areas with poor blood flow and overall heart health
Notes: numerous software programs that are used to derive quantitative information

## Slide 6: The Problem
Current Cardiac Phantoms limited in realism and flexibility
Stylized Phantoms lack detail of anatomical model
Voxel Phantoms are rigid and less flexible

## Slide 7: Study Aim
Design a computational cardiac phantom
  Simulate interfering Parameters
  Accurate phantom for validating and improving the quantitative analysis software
Computational Phantom
  Versatile and easily modifiable
  Enhances imaging accuracy and diagnosis
Notes: design a solution that could simulate various conditions
wanted to design a phantom that was accurate
chose to design a computational phantom

## Slide 8: Why use Python?
High-Level programming language
Easy Syntaxes
Flexibility
More advantages over other languages

## Slide 9: Python Libraries Used
NumPy: numerical operations and matrix handling
SciPy: scientific computing, including optimization and interpolation

## Slide 10: Results

## Slide 11: Accurate myocardial slices consistent with SPECT images
Notes: successfully produced myocardial slices
clear demonstration of the phantoms capabilities to produce a realistic myocardial image.

## Slide 12: Various defect severities simulated
Notes: show images at defects of 70, 90 and 100%. Figure 4 in the article illustrates the effect of defect severity increases and the defect count decreases proportionally.

## Slide 13: Accurate EDV, ESV, EF parameters
Notes: figure 6 from the article.
shows the mean EDV ESV and EF for different defect extents and severities comparing the software measurements using the computational phantom with clinical data further validating the accuracy of the functional parameters and using their computational phantom.

## Slide 14: My Thoughts

## Slide 15: References
NumPy developers. (n.d.). NumPy logo. Retrieved from https://github/com/numpy/numpy/tree/main/branding/logo
SciPy devleopers (n.d.). Scipy logo. Retrieved from https://github.com/scipy/scipy.org/blob/main/static/images/logo.svg
Biopython. (n.d.). Biopython logo. Retrieved from https://biopython.org/wiki/logo
Hanafy, O. S., Khalil, M. M., Khater, I. M., & Mohammed, H. S. (2020). Development of a new Python‐based cardiac phantom for myocardial SPECT imaging. Annals of Nuclear Medicine, 23(1), 257. https://doi.org/10.1007/s12149-020-01534-y
Matplotlib developers. (n.d.). Matplotlib logo. Retrieved from https://matplotlib.org/stable/gallery/misc/logos2.html
pandas development team. (n.d.). Pandas logo. Retrieved from https://pandas.pydata.org/about/citing.html
Python Software Foundation. (n.d.). Python logo. Retrieved from https://www.python.org/community/logos/
Splettstoesser, T. (n.d.). Cas9 protein structure [Image]. Wikimedia Commons. Retrieved from https://en.wikipedia.org/wiki/Cas9#/media/File:Cas9_5AXW.png

## Slide 16: Questions?